## Slide 1: Protein quantification and PTM
Jun sin Hss.i

## Slide 2: Project 1

## Slide 3: msms
MS analysis
Peptide Precursors
MS/MS analysis
Peptide sequence information
(on top of Mass and Charge)
Fragmentation

## Slide 4: MS1 v. ms2
Mass spectrometry can help to detect posttranslational modification.
MS is a tool for finding the molecular mass of a sample.
MS2 or MS/MS uses two mass spectrometers in tandem that has some “form of fragmentation occurring in between the stages.”
MS/MS is used to produce structural information by identifying the resulting fragment ions.
The stages of mass analysis separation can be accomplished by a single mass spectrometer with the MS steps separated in time.

## Slide 5: ms2
A peptide sequence tag obtained by tandem mass spectrometry can be used to identify a peptide in a protein database.
Peptide fragment ions are indicated by a, b, or c if the charge is on the N-terminus, and x, y, or z if the charge is maintained on the C-terminus.
Subscript indicates the number of amino acid residues in the fragment.
b1
y25

## Slide 6: B ion and y ion
The sequence of the peptide is determined by the mass difference between the peaks.
Confusingly, the y and b ions are intermixed; however, this mixing will help to establish a sequence, forward and backward.
The fragment peaks that appear to extend from the N-terminus are b ions.
L L D E V F F S E KUb I Y K
b12
y2
b11
y3
b10
y4
b9
y5
b8
b7
y7
b6
y8
b5
y9
b4
b3
y11
y12
N-terminus
C-terminus

## Slide 7: B ion and y ion
The b fragments peaks are labeled from the amino to the carboxyl terminus.
y ions being labeled in peptide GLSDGWQQVLNVWGK
b ions being labeled in peptide GLSDGWQQVLNVWGK
Groups of peptide fragment ions appear to extend from the C-terminus, these peaks are termed, y ion.

## Slide 8: Information given from spectra
400
600
800
1000
1200
1400
1600
m/z
0
20
40
60
80
100
Relative Abundance
1044.26
1118.33
1000.82
850.62
812.43
801.26
745.94
934.63
1217.88
1599.71
586.23
894.57
779.12
1237.26
1079.59
991.66
559.32
1159.64
533.31
1257.01
727.10
372.39
1397.84
1304.51
525.32
344.30
972.19
415.92
1356.65
1466.98
289.20
1749.37
1578.95
1692.13
3 Subunit
Xcorr = 3.04
z = 2
m/z = 872.96
0.7ppm
L L D E V F F S E KUb I Y K
b12
y2
b11
y3
b10
y4
b9
y5
b8
b7
y7
b6
y8
b5
y9
b4
b3
y11
y12
Xcorr: cross correlation
Z: charge state of precursor peptide
m/z: mass to charge ratio
ppm: accuracy of the precursor measurement

## Slide 9: Procedure on labeling spectra
Obtain the spectra from MS2
Clean up the spectra
Remove unnecessary markings along the axis of the spectra
Outside Work
Main work
Receive data supplied by Uniprot and an Excel file
OW
Subunit
m/z
Ppm
Xcorr
z
Incorporate into PowerPoint
Receive data supplied by Uniprot
OW
B ion
Y ion
Label spectra peaks with corresponding ion values
Publication

## Slide 10: miape
Nat Biotechnol. 2007 Aug;25(8):887-93
The minimum information about a proteomics experiment
Cover page
3rd page of paper

## Slide 11: Recap of spectra labeling
A labeled spectra produces a lot of information:
Xcorr (cross correlation)
m/z (mass-to-charge ratio)
z (charge)
ppm
Spectra Labeled from Human | Spectra Labeled from Mouse
49 | 8

## Slide 12: Project 2

## Slide 13: How to generate the internal standard
In order to find the differences between wild type and protected mice, nitrogen labeling was done.
The diet of the wild type contained 14N, while the IS mice had a specialized diet, in which all nitrogen was replaced with a heavy stable isotope, 15N.
Algae, the food for the mice, are able to produce proteins/amino acids (containing nitrogen-15) with the consumption of only ammonium.
When mice ingest the algae, they too produce amino acids and proteins labeled with 15N. The heavy nitrogen is found in the amine group of the amino acid.
Ammonium
15N-labeled Algae
15N-labeled Proteins
15N-labeled Amino Acids and Proteins
15N-labeled Mice

## Slide 14: Internal Standard
Although most of the proteins in the IS mice are labeled with 15N, the process does not label 100 percent of the nitrogen.
There is about 15 percent 14N left, which accounts for the wide spread of the peaks.
With an additional 8 more weeks, the labeling will approach 100 percent.
m/z
Dihydrolipoyllysine acetyltransferase
(PKC Tg vs. WT equals 0.6)
m/z
Relative Abundance
0
20
40
60
80
100
Relative Abundance
0
20
40
60
80
100
GLETIASDVVSLASK
745
747
749
751
753
755
x10
PKC Tg
Internal Standard
745
747
749
751
753
755
x10
WT
Internal Standard
Chart: 
| Tg v. IS
Tg | 3.5
IS | 5
Chart: 
| WT v. IS
WT | 5
IS | 5
Chart: 
| Tg v. WT
Tg | 3.5
WT | 5

## Slide 15: THE Silam project
The purpose of this project is to compare the protein expression of transgenic and nontransgenic mice.
However, the regression ratio between TG and NTG mice cannot be calculated directly, a reference point (SILAM mouse) is used for the calculation.
The experiment analyzed three SILAM, three TG, and three NTG mice.
Ratio 1
Ratio 2
Ratio 3
Ratio 5
Ratio 4
Ratio 6
Three Final Measurements

## Slide 16: Protein Information
Supplied by www.uniprot.org
Protein Name and sequence of P02088

## Slide 17: Quality of the peptide
Before starting the actual comparison, a quality check needed to be done.
The amino acid Methionine (M) was highlighted (disregarded) because of its susceptibility to oxidation of varying degrees.
Since trypsin cleaves proteins after Lysine (K) and Arginine (R), if K or R appeared in the middle of a peptide, a miscleavage occurred.
If R or K appeared at the beginning of a sequence (…RK…KR…KK…RR…), then it was a miscleavage, because of its ambiguity.
Also every peptide had to end in a K or a R.
Methionine
When R or K appeared at the beginning of a sequence, or if K or R appeared in the middle of a peptide.

## Slide 18: Calculating the ratios
Once all six adjusted ratios have been calculated, the TG/NTG ratios can be calculated.
The 4th and final “green box” is used for the average calculation of all three TG/NTG Ratios.
The average ratio after all three SILAM ratios have been found.
Final TG/NTG ratio for the protein D3Z3F4

## Slide 19: Results of the Silam Project
With the final data, I was able to find the proteins that underwent no-change and change.
The proteins that changed either displayed up regulation or down regulation.
All proteins were counted and separated:
Total changed: 100
Total: 287
Proteins that underwent no-change | Proteins that changed: up regulation | Proteins that changed: down regulation | Proteins that were unsuitable for quantification
166 | 76 | 24 | 21

## Slide 20: acknowledgements
Dr. Ping
Nobel Zong
Laboratory Members

## Slide 21: Thank you
For everything